Thermo-Tech Premium Windows and Doors

1120 38th Ave NE

Sauk Rapids, MN 56379

877-565-0159

www.ttwindows.com

Product Specifications

Thermo-Tech Classic Series

Thermo-Tech Thermo-FitTM

Specification Note: This document has been written to assist in the specification of vinyl window and patio door products manufactured by Thermo-Tech for use in multi-family building construction. Sections call for editing by the specifier in order to select products required for each specific project. Parenthesis { }; with noted selections indicate where editing is necessary.

Specification Note: Thermo-Tech Classic Series (standard size) is typically used in new construction applications. “Thermo-FitTM” may be substituted below when application calls for custom sized units typically used for replacement.

For questions please contact our Commercial Department at commercial@thermo-techwindows.com, or call 877-565-0159.

SECTION 08560

VINYL WINDOWS AND DOORS

- - GENERAL

  - SECTION INCLUDES:

    - Thermo-Tech® Classic Series Vinyl Windows and Doors

1.2	REFERENCES

A.	AAMA/WDMA/CSA 101/I.S.2/A440-11 - Voluntary Specification for Aluminum, Vinyl (PVC) and Wood Windows and Glass Doors.

B.	AAMA 701/702-11 - Combined Voluntary Specifications for Pile Weather strip and Replaceable Fenestration Weather seals.

C.	AAMA 902-07 - Voluntary Specification for Sash Balances.

D.		ASTM E 283-04(Reapproved 2012) - Standard Test Method for Determining the Rate of Air Leakage through Exterior Windows, Curtain Walls and Doors under Specified Pressure Differences across the Specimen.

E. 	ASTM E 330-02(Reapproved 2010) - Standard Test Method for Structural Performance of Exterior Windows, Curtain Walls and Doors by Uniform Static Air Pressure Difference.

F.	ASTM E 547-00(Reapproved 2009) - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Cyclic Static Air Pressure Difference.

G.	ASTM F 588-07 - Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact.

H. 	NFRC 100-2014 - Procedure for Determining Fenestration Product U-Factors.

I.	NFRC 200-2014 - Procedure for Determining Fenestration Product Solar Heat Gain Coefficient and Visible Transmittance at Normal Incidence.

J.	NFRC 300-2010 - Standard Test Method for Determining the Solar Optical Properties of Glazing Materials and Systems

K. 	NFRC 400-2014 – Procedure for Determining Fenestration Product Air Leakage

L.       NFRC 500-2014 – Procedure for Determining Fenestration Product Condensation Resistance Values

1.3	SUBMITTALS

    - Submit under provisions of Section 01300.

    - Product Data: Submit the following documents for each type of window.

      - Manufacturer's technical data, product descriptions and installation manuals.

    - Shop Drawings:

      - Elevations for each style window specified indicating its size, color, glazing type, muntin type and design.

      - Manufacturer's head, jamb and sill section details for each window type specified.

    - Selection Samples:  For each finish product specified, two complete sets of color chips representing manufacturer's full range of available colors and patterns.

    - Test Reports: Submit certified independent testing agency reports indicating window units meet or exceed specified performance requirements.

1.4	QUALITY ASSURANCE

A.	Manufacturer Qualifications:   All primary products specified in this section will be supplied by a single manufacturer with a minimum of twenty (20) years of experience.

B.	Installer Qualifications: All products listed in this section are to be installed by a single installer with a minimum of five (5) years demonstrated experience in installing products of the same type and scope as specified.

C.	Window units must be tested to comply with AAMA/WDMA/CSA 101/I.S.2/A440-11

D.	Egress: Where required by code, install windows with the following properties:

      - Sill height must not exceed 44 inches (1118mm) above the floor.

      - Minimum net clear opening must be 5.7 square feet (0.53 sm) with the exception of grade level windows may have a minimum clear opening of 5 square feet (0.47 sm).

      - Minimum net clear opening height must be 24 inches (610mm).

      - Minimum net clear opening width must be at least 20 inches (509mm).

E.	Code Compliance: All windows must comply with the requirements of the code bodies having jurisdiction over the project.

F.	Mock-Up:  Provide a mock-up for evaluation of surface preparation techniques and application workmanship.

1.	Finish areas designated by Architect.

- Do not proceed with remaining work until workmanship and color are approved by Architect.

3.	Refinish mock-up area as required to produce acceptable work.

  - DELIVERY, STORAGE, AND HANDLING

A.	Store products in manufacturer's unopened packaging until ready for installation.

B.	All windows and doors are to be handled and stored sill down in an upright position and not on sides or head.

No more than 8 patio doors and 12 windows are to be stored in a stack and keep out of direct sunlight.

C.	Store and dispose of hazardous materials, and materials contaminated by hazardous materials, in accordance with requirements of local authorities having jurisdiction.

1.6	WARRANTY

    - At project closeout, provide to Owner or Owner’s Representative an executed copy of the manufacturer's standard limited warranty against manufacturing defect, outlining its terms, conditions, and exclusions from coverage.

      - UPVC Vinyl Frame and Sash Parts: 10 Years from Date of Manufacture.

      - Window Hardware: 10 Years from Date of Manufacture.

      - Insulated Glass Seal Failure: 10 Years from Date of Manufacture.

      - Stress Cracks: 1 Year form Date of Manufacture.

      - Labor on Stress Cracks: 1 Year from Date of Manufacture.

PART 2 - PRODUCTS

  - MANUFACTURER

- AAMA Accredited Manufacturer: Thermo-Tech Premium Windows and Doors, which is located at: 1120 38th Ave. N.E.; Sauk Rapids, MN 56379; Toll Free Tel: 877-565-0159; Tel: 320-529-4012; Fax: 320-529-4017; Email: commercial@thermo-techwindows.com; Web: www.ttwindows.com.

B.	Substitutions:    Not permitted.

C.	Requests for substitutions will be considered in accordance with provisions of Section 01600

  - CLASSIC SERIES WINDOWS

- Window Construction:

      - Frame: 3 1/4 inch (83mm) multi-chambered design, made from Polyvinyl Chloride (PVC) with fusion welded corners.

      - Frame/Sash Color: {White, Tan, OR Sandlewood}

a.	{Optional Exterior Paint Colors: Black, Bronze, OR Gray}

{Specifier Note: Gray exterior paint only available on casements, fixed casements, and awnings.}

3.	Hardware:

a) Metal lock and keeper system

b) Hardware Color {Interior Complementing Color, Oil Rubbed Bronze, OR Antique Brass}

{Specifier Note: Oil Rubbed Bronze not available on Awning, Single Hung, or Sliding units. Antique Brass not available on Awning Windows}

c) {Window Opening Control Devices in accordance with ASTM F 2090-10}

OR

c) {Sliding window track-lock system locks closed or in place at 3” (76mm) for secure ventilation}

{Specifier Note: Track-lock available on Thermo-Tech Sliding Windows only. Not available when using WOCD on Sliding Windows}

4.	Weather Stripping: Multi-layer weather stripping in compliance with AAMA 701.2

5.	Screens: {Color complemented aluminum frame with BetterVue® charcoal fiberglass mesh on operable units, OR Color complemented aluminum frame with aluminum mesh on operable units}

6.	Muntins/Grids: {5/8” Flat grids between glass (GBG) dividers OR 3/4" Contoured grids between glass (GBG dividers}

7.	Exterior Trim: {Integral Nailing Fin, Integral Nailing Fin with lose 3/4" Snap-in J-Channel, 1 7/16 inch (37mm) Brickmould, 2 inch (51mm) Brickmould, 2 inch Brickmould with Nailing Fin, 1 1/2 inch Brickmould with snap on cover, 2 inch Brickmould with snap on cover, 1 1/2" Brickmould with snap on cover and 1 inch sub sill, OR 2 inch Brickmould with snap on cover and 1 inch sub sill}

{Specifier Note: Snap-in J-Channel requires site installation}

8.	Interior Trim

            - Jamb Receptors to Match Interior Window Color: {None, 1/2 inch, 11/16 inch, OR 3/4 inch}

{Specifier Note: Select 11/16 inch Jamb Receptor when using with Extension Jambs called out in 8.b below. 1/2 inch receptor is typically used for drywall return when using 1/2”” drywall, 11/16 inch receptor is typically used for drywall return with 5/8” drywall, and 3/4 inch receptor is typically used for jambs supplied by millwork supplier}

            - Extension Jambs: {None, Vinyl Wrapped to Complement Interior Window Color Selection,

Unfinished Oak, Unfinished Pine, OR Unfinished Birch}

- Performance:

      - Unit Size Tested: To be included with submittal documents for each window style.

2.	Energy and structural performance results to be included with submittal for each window style.

3.	Air Infiltration: Maximum 0.07 cfm/sq. ft. at 1.57 psf (25 mph) in accordance with ASTM E 283

4.	Water Resistance: No leakage when tested at 6.06 psf in accordance with ASTM E 547

5.	Performance Grade: Minimum of R-40

6.	Forced Entry Resistance: Grade 10

2.3 	SINGLE HUNG WINDOWS – CLASSIC & THERMO-FIT SERIES

A.	Glazing: 3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using a silicone sealant and glazing bead.

1.	{Type: High Performance LoE² 272 with Argon (Standard)

a.	U-Factor: 0.30

        - Solar Heat Gain Coefficient (SHGC): 0.33 (No Grids), 0.30 (With Grids)

        - Visible Light Transmittance: 0.56 (No Grids), 0.50 (With Grids)

        - Condensation Resistance: 55}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.29

b.	Solar Heat Gain Coefficient (SHGC): 0.22 (No Grids), 0.20 (With Grids)

c.	Visible Light Transmittance: 0.51 (No Grids), 0.45 (With Grids)

d.	Condensation Resistance:  55}

      - Color / Tint: {None, Gray, Bronze}

  - SLIDING WINDOWS – CLASSIC SERIES

A.	Glazing: 3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using a silicone sealant and glazing bead.

1.	{Type: High Performance LoE² 272 with Argon (Standard)

a.	 U-Factor: 0.30

b. 	 Solar Heat Gain Coefficient (SHGC): 0.33 (No Grids), 0.30 (With Grids)

c.	 Visible Light Transmittance 0.57 (No Grids), 0.51 (With Grids)

d.	 Condensation Resistance: 54}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon

a.	U-Factor: 0.29

b. 	Solar Heat Gain Coefficient (SHGC): 0.22 (No Grids), 0.20 (With Grids)

c. 	Visible Light Transmittance: 0.51 (No Grids), 0.46 (With Grids)

d. 	Condensation Resistance: 55}

2.	Color / Tint: {None, Gray, Bronze}

  - DIRECT SET PICTURE WINDOWS – CLASSIC SERIES

A.	Glazing: {3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to frame using double sided glazing tape and glazing bead OR 1-3/8 inch (35mm) Energy Guard triple pane insulated glass units with warm edge spacer system and (3) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead}.

1.	{Type: High Performance LoE² 272 with Argon (Standard)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC): 0.37 (No Grids), 0.33 (With Grids)

c.	Visible Light Transmittance: 0.64 (No Grids), 0.57 (With Grids)

d.	Condensation Resistance:  56}

OR

1.	{Type: Ultimate High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC): 0.24 (No Grids), 0.22 (With Grids)

c.	Visible Light Transmittance: 0.57 (No Grids), 0.51 (With Grids)

d.	Condensation Resistance:  57}

OR

1.	{Type: Energy Guard PLUS Triple Insulated 272 LoE² with Argon (Option)

a.	U-Factor: 0.16

b.	Solar Heat Gain Coefficient:  0.31 (No Grids), 0.28 (With Grids)

c.	Visible Light Transmittance:  0.51 (No Grids), 0.46 (With Grids)

d.	Condensation Resistance:  71}

2.	Color / Tint: {None, Gray, Bronze}

2.6 	DOUBLE HUNG WINDOWS – CLASSIC SERIES

A.	Glazing: 3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using a silicone sealant and glazing bead.

1.	{Type: High Performance LoE² 272 with Argon (Standard)

        - U-Factor: 0.30

        - Solar Heat Gain Coefficient (SHGC): 0.31 (No Grids), 0.28 (With Grids)

        - Visible Light Transmittance: 0.53 (No Grids), 0.47 (With Grids)

        - Condensation Resistance: 55}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.29

b.	Solar Heat Gain Coefficient (SHGC): 0.21 (No Grids), 0.19 (With Grids)

c.	Visible Light Transmittance: 0.48 (No Grids), 0.43 (With Grids)

d.	Condensation Resistance:  55}

      - Color / Tint: {None, Gray, Bronze}

2.7	CASEMENT WINDOWS – CLASSIC SERIES

    - Glazing: {3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead OR 1-3/8 inch (35mm) triple pane insulated glass units with warm edge spacer system and (3) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead}

      - {Type: High Performance LoE² 272 with Argon (Standard)

        - U-Factor: 0.27

        - Solar Heat Gain Coefficient (SHGC):0.28 (No Grids), 0.26 (With Grids)

        - Visible Light Transmittance: 0.48 (No Grids), 0.43 (With Grids)

        - Condensation Resistance: 57}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC): 0.19 (No Grids), 0.17 (With Grids)

c.	Visible Light Transmittance: 0.43 (No Grids), 0.39 (With Grids)

d.	Condensation Resistance:  57}

OR

      - {Type: Energy Guard PLUS Triple Insulated 272 LoE² with Argon (Option)

a.	U-Factor: 0.19

b.	Solar Heat Gain Coefficient:  0.24 (No Grids), 0.22 (With Grids)

c.	Visible Light Transmittance:  0.38 (No Grids), 0.34 (With Grids)

d.	Condensation Resistance: 70}

      - Color / Tint: {None, Gray, Bronze}

2.8	FIXED CASEMENTS – CLASSIC SERIES

A.	Glazing: {3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead OR 1-3/8 inch (35mm) Energy Guard triple pane insulated glass units with warm edge spacer system and (3) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead}.

- {Type: High Performance LoE² 272 with Argon (Standard)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC): 0.33 (No Grids), 0.29 (With Grids)

c.	Visible Light Transmittance: 0.56 (No Grids), 0.50 (With Grids)

d.	Condensation Resistance:  56}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.26

b.	Solar Heat Gain Coefficient (SHGC): 0.22 (No Grids), 0.20 (With Grids)

c.	Visible Light Transmittance: 0.51 (No Grids), 0.45 (With Grids)

d.	Condensation Resistance:  56}

OR

1.	{Type: Energy Guard PLUS Triple Insulated 272 LoE² with Argon (Option)

a.	U-Factor: 0.17

b.	Solar Heat Gain Coefficient:  0.28 (No Grids), 0.25 (With Grids)

c.	Visible Light Transmittance:  0.45 (No Grids), 0.40 (With Grids)

d.	Condensation Resistance:  70}

2.	Color / Tint: {None, Gray, Bronze}

2.9 	AWNING WINDOWS – CLASSIC SERIES

A.	Glazing: {3/4 inch (19mm) or 7/8 inch (22mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead OR 1-3/8 inch (35mm) Energy Guard triple pane insulated glass units with warm edge spacer system and (3) panes of 1/8 inch (minimum) double strength glass secured to sash frame using double sided glazing tape and glazing bead}

1.	{Type: High Performance LoE² 272 with Argon (Standard)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC):0.28 (No Grids), 0.26 (With Grids)

c.	Visible Light Transmittance: 0.48 (No Girds), 0.43 (With Grids)

d.	Condensation Resistance:  56}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.27

b.	Solar Heat Gain Coefficient (SHGC): 0.19 (No Grids), 0.17 (With Grids)

c.	Visible Light Transmittance: 0.43 (No Grids), 0.39 (With Grids)

d.	Condensation Resistance:  56}

OR

1.	{Type: Energy Guard PLUS Triple Insulated 272 LoE² with Argon (Option)

a.	U-Factor: 0.19

b.	Solar Heat Gain Coefficient:  0.24 (No Grids), 0.22 (With Grids)

c.	Visible Light Transmittance:  0.38 (No Grids), 0.34 (With Grids)

d.	Condensation Resistance:  71}

2.	Color / Tint: {None, Gray, Bronze}

2.10 	CLASSIC FRENCH SLIDING PATIO DOORS – STANDARD AND CUSTOM SIZES

    - Door Construction:

      - Frame:  4 9/16 inch (116mm) multi-chambered design, made from Polyvinyl Chloride (PVC) with fusion welded top corners and a mechanically fastened sill.

2.	Frame/Sash Color: {White, Tan, OR Sandlewood}

a.	{Optional Interior/Exterior Frame Color: White/Bronze, White/Black, Sandlewood/Bronze OR Sandlewood/Black }

3.	Hardware:

        - C-Handle with Dual Point locking system.

        - Hardware Color: {Interior Complementing Color, Bronze, Antique Brass, OR Brushed Nickel}

{Specifier Note: When selecting “Match Interior” both Exterior and Interior will match. Selecting “Bronze”, “Antique Brass”, OR “Brushed Nickel” provides option to split Exterior and Interior finishes at site}

4.	Weather Stripping: Multi-layer weather stripping in compliance with AAMA 701.2

5.	Screens: {Color complementing aluminum frame with BetterVue® charcoal fiberglass mesh OR Color matched aluminum frame with aluminum mesh}

6.	Muntins / Grids: {5/8” Flat Grids between glass (GBG) dividers OR 3/4" Contoured Grids between glass (GBG) dividers}

7.		Exterior Trim: {Integral Nailing Fin OR Integral Nailing Fin with loose Snap-in J-Channel}

{Specifier Note: Snap-in J-Channel requires site installation}

8.	Interior Trim:

a.	Jamb receptors to match interior door color (Field Applied): {None, 1/2 inch, 11/16 inch, OR 3/4 inch}

{Specifier Note: Select 11/16 inch Jamb Receptor when using with Extension Jambs called out in 8.b below. 1/2 inch receptor is typically used for drywall return when using 1/2”” drywall, 11/16 inch receptor is typically used for drywall return with 5/8” drywall, and 3/4 inch receptor is typically used for jambs supplied by millwork supplier}

b. Extension Jambs: {None, Vinyl Wrapped to Complement Interior Window Color Selection, Unfinished Oak, Unfinished Pine, OR Unfinished Birch}

    - Performance:

      - Unit Size Tested: To be included with submittal documents for each door style.

      - Energy and structural performance results to be included with submittal for each window style.

      - Air Infiltration: Maximum 0.08 cfm/sq. ft. at 1.57 psf (25 mph) in accordance with ASTM E 283

      - Water Resistance: No leakage when tested at 7.50 psf in accordance with ASTM E 547

      - Performance Grade:  LC-40

      - Forced Entry Resistance:  Grade 10

    - Glazing: 7/8 inch (19mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8” double strength or 3/16 inch triple strength glass secured to sash frame using a silicone sealant and glazing bead.

      - Type: High Performance LoE² 272 with Argon (Standard)

        - U-Factor: 0.30

        - Solar Heat Gain Coefficient (SHGC): 0.29 (No Grids), 0.25 (With Grids)

        - Visible Light Transmittance: 0.49 (No Grids), 0.42 (With Grids)

        - Condensation Resistance:  56

OR

1.	Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.30

b.	Solar Heat Gain Coefficient (SHGC): 0.19 (No Grids), 0.17 (With Grids)

c.	Visible Light Transmittance: 0.44 (No Grids), 0.38 (With Grids)

d.	Condensation Resistance:  56

      - Color / Tint: {None, Gray OR Bronze}

  - SLIMLINE SLIDING PATIO DOORS – STANDARD AND CUSTOM SIZES

    - Door Construction:

      - Frame:  4 9/16 inch (116mm) multi-chambered design, made with Polyvinyl Chloride (PVC) with fusion welded corners.

      - Frame/Sash Color: {White, Tan, OR Sandlewood}

Hardware: C-Handle with Dual Point locking system

        - C-Handle with Dual Point locking system

        - Color: Interior Complementing Color

      - Weather Stripping: Multi-layer weather stripping in compliance with AAMA 701.2

      - Screens: {Color complementing aluminum frame with BetterVue®  charcoal fiberglass mesh OR Color matched aluminum frame with aluminum mesh}

      - Muntins / Grids: {5/8” Flat Grids between glass (GBG) dividers OR 3/4" Contoured Grids between glass (GBG) dividers}

      - Exterior Trim: {Integral Nailing Fin OR Integral Nailing Fin with loose Snap-In J-Channel}

{Specifier Note: Snap-in J-Channel requires site installation}

7.	Interior Trim:

a.	Jamb receptors to match interior door color (Field Applied): {None, OR 11/16 inch}

{Specifier Note: Select 11/16 inch Jamb Receptor when using with Extension Jambs called out in 7.b below.

b.	Extension Jambs: {None, Vinyl Wrapped to Complement Interior Window Color Selection, Unfinished Oak, Unfinished Pine, OR Unfinished Birch}

B.	Performance:

      - Unit Size Tested: To be included with submittal documents for each door style.

2.	Energy and structural performance results to be included with submittal for each window style.

3.	Air Infiltration: Maximum .02 cfm/sq. ft. at 1.57 psf (25 mph) in accordance with ASTM E 283

4.	Water Resistance: No leakage when tested at 7.50 psf in accordance with ASTM E 547

5.	Performance Grade: R-30

6.	Forced Entry Resistance: Grade 10

C.	Glazing: 7/8 inch (19mm) dual pane insulated glass units utilizing warm edge spacer system and (2) panes of 1/8” double strength or 3/16 inch triple strength glass secured to sash frame using a silicone sealant and glazing bead.

- {Type: High Performance LoE² 272 with Argon (Standard)

        - U-Factor: 0.30

        - Solar Heat Gain Coefficient (SHGC):0.33 (No Grids), 0.30 (With Grids)

        - Visible Light Transmittance: 0.58 (No Grids), 0.51 (With Grids)

        - Condensation Resistance:  52}

OR

1.	{Type: Premium High Performance 366 LoE³ with Argon (Option)

a.	U-Factor: 0.29

b.	Solar Heat Gain Coefficient (SHGC): 0.22 (No Grids), 0.20 (With Grids)

c.	Visible Light Transmittance: 0.52 (No Grids), 0.45 (With Grids)

d.	Condensation Resistance:  53}

2.	Color / Tint: {None, Gray OR Bronze}

PART 3 – EXECUTION

  - EXAMINATION

    - Do not begin installation until substrates have been properly prepared.

    - If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

  - PREPARATION

    - Clean surfaces thoroughly prior to installation.

    - Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

  - INSTALLATION

    - Install in accordance with manufacturer's instructions.

  - PROTECTION

    - Protect installed products until completion of project.

    - Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION.